303(d) Listing Documentation

Waterbody Name: Half Moon Lake (LC13)

Waterbody ID Code (WBIC): 2125400

County(ies): Eau Claire

Impaired Stream Reach (location and mileage):

Type of impairment (water quality standards violations [ex. pH, DO, etc.], not meeting codified use [ex. WWFF should be Cold II], eutrophication, etc.):

From 1998 list: pH (above 9), Sedimentation

From 2001 Basin Report:

Cause of impairment (ex. temperature, nutrients, sediment, BOD, toxics, etc.):

Nutrients, Sediment

Source of impairment (ex. point source, nonpoint source, internal load, unknown, etc.):

From 2001 Basin Report: Urban Runoff, Curly Leaf Pondweed and internal loading

Description of monitoring conducted (including dates, results, quality of data and reports):

Reports: Management Alternatives Report on the Diagnostic Feasibility Study of Half Moon Lake Water Quality Problems 1992;

Limnological Analysis of Half Moon Lake, Wisconsin. 2001

Monitoring in summer 1997 found 3 pH violations (>9) of 6 surface samples (50%)

Monitoring in summer 1999 found 56 pH violations (>9) of 114 surface samples (49%)

Monitoring in summer 2001 found one pH violation (>9) of one surface samples (100%)

A TMDL has been developed for Half Moon Lake.  The CORPs is evaluating strategies to control growth of curly leaf pond weed.

Location of supporting data (electronic and hard copy files):

WCR Regional Office

Reviewer’s Name: Pat Oldenburg; Revised by Mark Hazuga

Date Reviewed: March 27, 2002; 2/1/2008

If stream, attach map showing impaired reach