303(d) Listing Documentation

Waterbody Name: Lake Hallie (LC18)

Waterbody ID Code (WBIC): 2150200

County(ies): Chippewa

Impaired Stream Reach (location and mileage):

Type of impairment (water quality standards violations [ex. pH, DO, etc.], not meeting codified use [ex. WWFF should be Cold II], eutrophication, etc.):

From 1998 list: pH, Sedimentation

From 2001 Basin Report: Sedimentation, DO, Habitat, Algae, Macrophytes, Eutrophication

Cause of impairment (ex. temperature, nutrients, sediment, BOD, toxics, etc.):

Nutrients

Source of impairment (ex. point source, nonpoint source, internal load, unknown, etc.):

Urban Runoff, Development, Curly Leaf Pondweed

Description of monitoring conducted (including dates, results, quality of data and reports):

A Self Help volunteer has been collecting secchi readings since 1995 to present

The Department has been monitoring Lake Hallie as a trend lake since 2001.  Water quality parameters collected include total phophorus, chlorophyll a, and secchi.

SWIMs ID numbers 093155 and 093115

Monthly Monitoring 1991 and 2001; 1 pH violation out of 10 summer samples

Do Problem was a winter DO problem, aeration installed.

May want to consider listing due to loss of spring flow (due to development) contributing to loss of two-story fishery

Location of supporting data (electronic and hard copy files):

Buzz Sorge's Office

SLOH Database

SWIMs

Reviewer’s Name: Pat Oldenburg; revised by Mark Hazuga

Date Reviewed: March 25, 2002; 2/1/2008

If stream, attach map showing impaired reach