303(d) Listing Documentation

Waterbody Name: Trout Run Creek

Waterbody ID Code (WBIC): 1695500

Watershed: Trout Run and Robinson Creeks (BR04)

County(ies): Jackson

Impaired Stream Reach (location and mileage):

Entire stream above Roaring Creek Road (5.0 miles).

Type of impairment (water quality standards violations [ex. pH, DO, etc.], not meeting codified use [ex. WWFF should be Cold II], eutrophication, etc.):

Existing use is WWFF, codified use is Cold III and potential use is Cold III. Dissolved oxygen standard violations.

Cause of impairment (ex. temperature, nutrients, sediment, BOD, toxics, etc.):

Temperature, organic loading, sediment

Source of impairment (ex. point source, nonpoint source, internal load, unknown, etc.):

NPS (feedlot runoff, cattle pasturing, streambank erosion)

Description of monitoring conducted (including dates, results, quality of data and reports):

Fish surveys conducted in 2003 found primarily forage species with few or no trout. A 100m. fish survey conducted below Church Rd. found only a single creek chub.

Continuous DO/temperature monitoring below Church Rd. found DO levels below 1.0 mg/l and maximum temperatures above 28o C. The stream was severely impacted by an upstream feedlot and unrestricted cattle access. We recommend this stream be added to the 2004 303d list.

No new data as of 6/2/2008.

Location of supporting data (electronic and hard copy files):

Electronic and hard copy files in DNR WCR headquarters. Fish survey data available at DNR Black River Falls office.

Reviewer’s Name: Ken Schreiber; reviewed by Mark Hazuga 6/2/2008

Date Reviewed: 1/12/04; reviewed 6/2/2008