REPORT FOR LITTLE GREEN LAKE PROJECT

Paul Garrison

Wisconsin Department of Natural Resources

# December 2003

## Introduction

Many lakes in Wisconsin have elevated concentrations of nutrients, which result in unsightly algal blooms, as well as an over abundance of aquatic plants.  The high phosphorus levels often result in runoff from watershed activities.  In the case of Little Green Lake there is considerable agriculture in the watershed as well as homes around most of the shoreline.  A study conducted by Ramaker and Associates in 1998-99 as well data collected by the U.S. Geological Survey since 1991 indicate that considerable internal loading is occurring in the lake.  Modeling by Ramaker and Associates estimated that 70 percent of the total P load comes from internal loading.

There are several sources from within the lake that can contribute P.  These include benthivorous fish, e.g. carp, bullheads; nutrient release following die off of macrophytes, e.g. curly-leaf pondweed; sediment release from anoxic conditions during stratification; and elevated pH during intense algal blooms.  Because of the morphometry of Little Green Lake, it is susceptible to periods of stratification and mixing throughout the summer.  Its maximum depth (28 ft) is deep enough for stratification to occur during periods of warm weather with little wind, but not deep enough to prevent mixing during moderate wind events.  During stratification the bottom waters may become devoid of oxygen allowing phosphorus to be released from the sediments.  Subsequent mixing transports the P to the upper waters thus enhancing algal growth which result in noxious algal blooms.  While the stratification/mixing is not well documented in lakes it is known to occur in a few lakes.

During 2003 at destratification system was installed and began operation with the intent of significantly reducing the amount of stratification that occurs during the summer months.  By preventing this stratification and the subsequent depletion of oxygen, it as expected that release of phosphorus from the sediments would be greatly reduced and thus reducing the severity of algal blooms.

Methods

The destratification system consisted of a compressor located on shore and air distribution system, which dispersed air in the deep area of the lake.  The compressor was a Kaeser Model CS91 rotary screw with a rated capacity of 375 cfm @100 psi.  The airline consisted of BottomlineTM supply tubing of ½ inch inside diameter.  The air was delivered in 5 separate lines from the compressor to the deepest region of the lake (Figure 1).  Initially the terminal 500 ft of each finger (except the middle one) had 50 holes at 10 ft intervals to allow release of air bubbles.  The hole diameters (number of each) were 3/16” (15), ¼” (20), 5/16” (10), and 3/8” (5).  The middle finger had holes in the last 300 feet.  The system was operational from 4 June thru 4 July.  (Finger A was not used during this time because of a break in the line.) During operation, air was not exiting all of the holes, especially at the terminal ends of the line.  On 4 July some of the lines were found to be floating and the system was shut down.  The defective line was replaced with additional ½” ID bottom weighted line.  The hole pattern of finger B was changed in an attempt to get better air distribution. The revised system had holes drilled the final 300 feet at 20 intervals with hole diameters (number of each) of 1/8” (7), 3/16” (8), and ¼” (2).  This revised system was started on 15 July.  The revised hole system appeared to give better air distribution so the hole pattern was changed on the remaining fingers on 30 July.  The revised air distribution system was utilized from 30 July until the end of September.  After the airline was replaced and the terminal holes reconfigured, the air output was at 60 psi in all of the airlines.

In order to evaluate the effectiveness of the destratification system, samples were collected in 2000 (no aeration) and 2003 (aeration).  Profiles for dissolved oxygen (DO), temperature, dissolved and total phosphorus were collected throughout both summers.  Samples for water clarity (Secchi depth) and algae (chlorophyll a) where also collected.  Samples for phosphorus were collected using a peristaltic pump and tygon tubing suspended at a know depth.  Depth was measured from the sediments upward so that exact depth above the sediments was known.  Samples for total dissolved phosphorus were filtered in-line during collection using 0.45µ Millipore filter.  In-line filtration prevents complexation of phosphorus with iron or manganese from underestimating the phosphorus levels. Chlorophyll samples were also filtered in-line

through GF/C glass fiber filters and immediately placed in tubes containing 90% acetone.  Results from 2000 and 2003 were compared with long-term data that has been collected by the USGS since 1987.

Results

Comparison of phosphorus (P) in the lake between 2000 and this past summer indicates that P levels were similar both years.  In both years P levels were lowest during the spring and steadily increased until the highest levels were reached in early September (Figure 2).  This is what would be expected if significant internal loading were occurring.  Even though the destratification system was operational during 2003 it did not prevent internal loading.  In fact peak P levels were higher in 2003 than they were in 2000.  Part of the seasonal increase in P is a result of die off of curly leaf pondweed.  The plant die off occurs at the end of June or early July and the increase in P at this time likely reflects this.  However the increase during the last part of July and August most likely results from release of P from the sediments.

Figures 3-7 show that the size of the anoxic area (DO less than 2 mg L-1) was much smaller in 2003 with destratification system than it was in 2000.  Also the volume of bottom waters that were anoxic was less in 2003.  It is not clear why peak phosphorus levels were higher in 2003 than in 2000.  Although the frequency of sampling was less in 2003 than 2000, P levels in the bottom waters in 2003 were much lower than in 2000 during August.  Yet during August 2003 the mass of P in the lake increased 2.5 times.

Algal levels as measured using chlorophyll a were lower during May through early July in 2003 than 2000 (Figure 8a).  However, for the rest of the summer algal levels were generally higher in 2003 compared with 2000.  This in part reflects the higher P levels in late August 2003.

Even though algal levels were generally higher in 2003, water clarity was better (Figure 8b).  This may, in part, be the result of the destratification system.  The increased currents induced by the aeration system may have reduced floating algal blooms and redistributed the algae deeper into the water column.  This increased circulation may have also been responsible for increased chlorophyll levels.  This increase may have been because the increased circulation allowed algae from deeper depths to be brought into the upper waters where there was sufficient light for photosynthetic activity.

The mean summer water clarity the last two years was better than was experienced from 1998-01 (Figure 9).  Mean water clarity was about 3 feet compared with 2 feet in the previous 4 years.  Because the Secchi depth in 2003 was similar to 2002 it is possible the increased water clarity is not the result of the destratification system.  The improved water clarity is still not as good as the lake experienced during the period 1995-97 but is better than the period 1987-91.

The summer mean values for both phosphorus and Secchi depth were much better in 2003 than they were in 2000 (Table 1).  Even though peak phosphorus values were higher the 2003, the summer mean was lower primarily because of the lower values in June and the first half of July.  Water clarity was nearly twice as good in 2003 compared with 2000 and this held true most of the summer.  Mean summer chlorophyll values were similar both years although values were generally lower in June during 2003 than 2000 but higher in August 2003.

Table 1.  Summer mean values for trophic variables for 2000 and 2003

|  | 2000 | 2003 |
| --- | --- | --- |
| Total Phosphorus (µg L-1) | 222 | 146 |
| Chlorophyll a (µg L-1) | 43 | 43 |
| Secchi Depth (ft) | 1.8 | 3.3 |

Discussion

Little Green Lake has experienced severe algal blooms in recent years.  Although the original source of nutrients that cause the blooms is phosphorus from the watershed, over time this phosphorus has built up in the lake’s sediments.  In recent years the lake association and partners have worked hard to reduce phosphorus input from the watershed.  However, because of high rates of phosphorus runoff in the past, internal phosphorus loading in now the major P source in the lake.  It has been estimated that internal loading is around 70% of the total P budget.  The sources of this P include: 1) die off of curly leaf pondweed in late June or early July, 2) rough fish, e.g. carp and bullheads, 3) sediment P release during periodic low dissolved oxygen events in the bottom waters, and 4) late summer P release in plant beds.  In attempt to reduce sediment P release during anoxic events a destratification was operational for part of the summer of 2003.

Although there were problems with the operation of the system in 2003, the extent of anoxia was less in 2003 compared with 2000.  This includes both the area and volume of the anoxic zone.  Despite this improvement in the oxygen conditions, peak total phosphorus values were higher in 2003 and the mean summer chlorophyll value was the same in 2003 as it was in 2000.  Water clarity (Secchi depth) was nearly twice as good in 2003 as it was in 2000 but this may not have been the result of the destratification system.  Water clarity in 2002 was nearly as good as 2003 even though the destratification system was not operational.

Internal loading continues to be a significant problem in the lake.  This is shown by the steady increase of phosphorus throughout the summer from a low in May to a high at the beginning of September.  The increase in phosphorus in the lake during this time was over 1600%.  Part of this loading was from the die off of curly leaf pondweed that occurred in late June.  It is estimated that this die off may have produced an increase of up to 25 µg L-1 in total phosphorus.  However, after this die off, the P levels continued to increase (Figure 2).  Part of this increase was probably the result of anoxic conditions in the deep waters during July.  During June and July the destratification was either not in operation or not performing to full capacity.  Full operational capacity was not achieved until 30 July.  It is very likely that part of the reason that there were significant anoxic events was because of the problems with the system.  With the system in full operation in August there were still anoxic periods but the anoxic zone was not spread out over as much of the lake bottom and the volume of water that was anoxic was not as great compared with 2000.  While some P was released from the sediments it does not appear to have been as great as during 2000.  However despite this, there was significant increase phosphorus during August.  The phosphorus mass in the lake increased nearly 3 times from 1078 kg in early August to 2706 kg in early September.

What are the reasons for this large increase in August?  Some possible reasons for this include:

- The destratification system was not fully operational for much of the summer and therefore its effectiveness was reduced.  Even though the system was fully operational during August, the failure of the system earlier may have reduced its effectiveness later in the summer.

- Rough fish, such as carp and bullheads, are in high enough numbers that they are contributing a significant amount of phosphorus during the summer, especially in August.

- The littoral zone is exporting large amounts of P; especially during August as the plant community matures and begins to die off.  Studies in other eutrophic Wisconsin lakes have shown that large amounts of P can be released from sediments in plant beds.  Because of high photosynthetic activity in these beds, the pH is elevated to levels above 9.0, which can result in the release of P from the sediments.  Also in dense plant beds where water movement is restricted, the water immediately above the sediments can become anoxic resulting in the release of P.   If the architecture of the beds changes as they mature, this P may be mobilized into the deeper waters of the lake.

- There was a large runoff event, which delivered large amounts of P from the watershed into the lake.

It seems that the most likely reason for the large increase in August was reason no. 3—sediment P release in the plant beds.  Although it is true that some P sediment release occurred during low dissolved oxygen periods in the deep water, measured P levels in the bottom waters were never as high in 2003 as they were in 2000.  It is possible that since samples were collected less frequently in 2003 (2 times in Aug 03 compared with 5 times in 00) high P concentrations were missed but it seems unlikely that this would explain all of the increase seen in August.  It also seems unlikely that a rainfall event could have brought enough P into the lake from the watershed to account for most of the increased P in the lake during August.

Since Little Green Lake has a large area covered by dense plants (over 50%) and the plant beds are very dense; it is likely that sediments in these beds contain a large reservoir of phosphorus. Also it is likely that conditions are such that the bottom waters in these beds become anoxic and pH levels rise above 9.0.  If the plant beds were a significant source of P during late summer, the destratification system would be ineffective at preventing this P source.  In fact significantly reducing this source of P will be very difficult.  One possible way to reduce this phosphorus would be to periodically cut the plant beds so that the plant density is reduced so that the waters above the sediments don’t become anoxic.

Recommended Future Work

- Operate the destratification another full summer and monitor the oxygen levels in the deeper water.  Sampling should be more frequent than it was in 2003, especially in July and August.  Oxygen, temperature, and phosphorus profiles should be conducted on a weekly basis during those 2 months.

- The potential for the plant beds to be a significant source of P for the open water of the lake should be investigated.  This should include determining the density of the plant growth and monitoring of pH, oxygen, and P levels throughout much of the summer.

# Text boxes

12

Figure 0.  Map of Little Green Lake showing site of compressor and air distribution system.

Figure 2.  Total Phoshorus concentration and mass before destratification (2000) and during the destratification (2003).  The 3 periods of differing operation periods are shown at the bottom of the graphs.  Period A consisted of 4 distribution lines with larger holes.  Period B consisted of only Finger B having different hole patterns.  Period C consisted of operation of 5 distribution lines and finalized hole patterns.  See text for details.

Figure 4.  Extent of low dissolved oxygen (DO) during June 2000.

Figure 5.   Extent of low dissolved oxygen (DO) during July 2000.

9

6

24

21

18

15

12

9

6

9

12

9

6

24

21

18

15

12

9

6

9

12

9

6

24

21

18

15

12

9

6

9

12

9

6

24

21

18

15

12

9

6

9

Wind

Wind

No Oxygen

12 June 03

9

3

Wind

15 July 03

9

3

21 June 03

Figure 9. Summer mean Secchi depths.  All data except for 2000 and 2003 are from the USGS study.

Figure 8a. Algal concentrations (chlorophyll a) before destratification (2000) and during the destratification (2003).

Figure 8b.  Water clarity (Secchi depth) before destratification (2000) and during the destratification (2003).  The 3 periods of differing operation periods are shown at the bottom of the graphs.

Figure 7. Extent of low dissolved oxygen (DO) during August and September 2003 with the destratification system in operation

9

3

1 Jly 03

9

3

Figure 1. Extent of low dissolved oxygen (DO) during June and July 2003 with the destratification system in operation.